## Content
Date Updated
2010-06-07
SUB RECORD MATRIX
Rolling Stock Department
DWE 24000 and 70000 Scheduled Maintenance Checklist
Hiperlink | Sheet No. | Record | Storage Method | Relevent Procedure/Manual | Procedure/Manual Ref. Code | Record Ref. Code | Record Ref. No. | Retention Time | Storage Location
Click Here | 1.1 | Toilet Quarterly Checklist For Depot | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 1.2 | Plumbing Monthly Checklist for DEPOT | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 1.3 | Sump Pump Weekly Checklist | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 1.4 | Sump Pump Quarterly Checklist | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 1.5 | Sump Pump Bi-Yearly Checklist | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 1.6 | Roller shutter monthly checklist | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 1.7 | Water Meter Reading Daily Checklist | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 1.7 | Water Meter Reading Weekly Checklist | Hardcopy | O&M Manual Building Services | O&M Manual 24000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 2.1 | AHU Monthly Checklist (ADM & MWS) | Hardcopy | O&M Manual ACMV System | O&M Manual 71000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 2.2 | FCU Monthly Checklist (ADM & MWS) | Hardcopy | O&M Manual ACMV System | O&M Manual 71000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 2.3 | Split Unit Monthly Checklist (ADM & MWS) | Hardcopy | O&M Manual ACMV System | O&M Manual 71000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 3.1 | Chiller Daily Operation Log For Depot | Hardcopy | O&M Manual ACMV System | O&M Manual 71000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 4.1 | DB Monthly Inspection For All Areas | Hardcopy | O&M Manual Electrical Services Equipment | O&M Manual 73000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 4.2 | Electrical Meter Reading Weekly Checklist | Hardcopy | O&M Manual Electrical Services Equipment | O&M Manual 73000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Click Here | 4.3 | Exit Light Quarterly Checklist | Hardcopy | O&M Manual Electrical Services Equipment | O&M Manual 73000 | R00.OMR.M12980.PT.0001.C | 46113 | 2 Years | DWE Office
Update Record
Date | Detail
2010-06-07 | Update logo

## 1.1 Depot Toilet QI
Rolling Stock Department - DWE | [8 empty] | Q
Toilet Quarterly Checklist For Depot
Refer to Instruction List Docs No. G00.OMI.M24000.PT.0001.A
[8 empty] | Plan Date : |  |  |  | Work Order :
Checklist Content
Tick (√) if OK , tick (X) if not OK |  | AD-G |  |  | AD-1F |  | VIP-1F | Canteen | M-1F |  | M-G
Item | Check | M | F | H | M | F | M/F | M/F | M | F | M | Remarks
1 | Physical Apperance
a. | Cleanliness
b. | Door Structure Condition
c. | Aluminum Ceiling Condition
e. | Lighting
2 | Toilet Accessories
a. | Stainless Steel Tissue Dispenser
b. | Soap Dispenser
c. | Hand Dryer
d. | Mirror
3 | Wash Basin
a. | Basin (crack/leaking)
b. | Water Tap
c. | Strainer Leaking
4 | Cubicles
a. | WC Bowl(crack/leaking)
b. | Seat Cover
c. | Bidet Set
d. | Manual Flushing
e. | Auto Flushing
f. | Water Tank
5 | Urinal Bowl
a. | Bowl & Bidet(crack/leaking)
b. | Manual Flushing
c. | Auto Flushing
7 | Shaft Room
a. | Any Flood or Leakage
b. | Piping Excessive Vibration
c. | Valve System In order
d. | Rigel Connection In Order
| Date: |  | Date: | [5 empty] | Supervisor's Name:
| Prep Time: |  | Prep Time: | [5 empty] | Date:
| Travel Time: |  | Travel Time: | [5 empty] | Time:
| Work Time: |  | Work Time:
Back To
Content
Stamp
Stamp
Stamp

## 1.2 Depot Plum MI
Rolling Stock Department - DWE |  |  |  |  | M
Plumbing Monthly Checklist for DEPOT
Refer to Instruction List G00.OMI.M24000.PT.0001.A | [7 empty] | Plan Date:………..…….……...…
Checklist Content | [7 empty] | Work Order No:………..…….……...…
Tick( √ ) if check has no defect & cross ( x ) for defect.
Item | Check |  | AD - R/T | AD-G-P1 | AD-G-P2 | M-R/T-P1 | M-R/T-P2 | STS Main Tank
1 | Piping System & Water Tank
a. | Leakage Check
b. | Excessive Vibration
c. | Water Tank & Float Switch
2 | Electrical Switchboard
a. | Cleanliness
b. | Power Supply (Voltage around 250V) |  | V | V | V | V | V | V
c. | Cable Connection
d. | All Breaker In Order
3 | Water Pumps & Motors
a. | Cleanliness
b. | Leakage Check
c. | Abnormal Sound
d. | Excessive Vibration / Heat
e. | All System In Order
f. | Re-greasing
g. | Check cleanliness of the pump room
4 | Pump Pressure Gauge
a. | Cleanliness
b. | Pressure Setting In Order
c. | Current pressure Reading |  | Psi | Psi | Psi | Psi | Psi | Psi
Other Remarks: |  |  |  | Supervisor Remarks:
Checked By
Date :
Prep. Time:
Work Time:
Confirm By
|  | Date : |  |  | Name:
|  | Prep. Time: |  |  | Date:
|  | Work Time: |  |  | Time:
Work Order:
Back To
Content
Stamp
Stamp
Stamp

## 1.3 Sump Pump WI
Rolling Stock Department - DWE |  |  | W
Sump Pump Weekly Checklist
Plan Date:………..…….……...…
Checklist Content |  |  |  |  | Work Order No:………..…….……...…
Work to be performed:
1. Verify float switch functionality.
► Make sure float switch move freely.
2. Verify sump pump functionality.
► Make sure pump functioning when float switch is on ON position
| No | Location | Remarks
| 1 | Track 10, Sump pump 1
| 2 | Track 10, Sump pump 2
| 3 | Track 10, Sump pump 3
| 4 | Track 11, Sump pump 1
| 5 | Track 12, Hoist 1 Sump pump 1
| 6 | Boogie Washing, Sump pump 1
| 7 | Under Wheel Lathe, Sump pump 1
Other Remarks: |  |  | Supervisor Remarks:
Checked By
Date :
Prep. Time:
Work Time:
Confirm By
|  | Date : |  | Name:
|  | Prep. Time: |  | Date:
|  | Work Time: |  | Time:
Back To
Content
Stamp
Stamp
Stamp

## 1.4 Sump Pump QI
Rolling Stock Department - DWE |  |  | Q
Sump Pump Quarterly Checklist
Plan Date:………..…….……...…
Checklist Content |  |  |  |  | Work Order No:………..…….……...…
Work to be performed:
1. Verify float switch functionality.
► Make sure float switch move freely.
2. Verify sump pump functionality.
► Make sure pump functioning when float switch is on ON position
| No | Location | Remarks
| 1 | Track 10, Sump pump 1
| 2 | Track 10, Sump pump 2
| 3 | Track 10, Sump pump 3
| 4 | Track 11, Sump pump 1
| 5 | Track 12, Hoist 1 Sump pump 1
| 6 | Bogie Washing, Sump pump 1
| 7 | To Clean Bogie Washing Pit
| 8 | Under Wheel Lathe, Sump pump 1
Other Remarks: |  |  | Supervisor Remarks:
Checked By
Date :
Prep. Time:
Work Time:
Confirm By
|  | Date : |  | Name:
|  | Prep. Time: |  | Date:
|  | Work Time: |  | Time:
Stamp
Stamp
Stamp
Back To
Content
Stamp
Stamp
Stamp

## 1.5 Sump Pump B-YI
Rolling Stock Department - DWE |  |  | B-Y
Sump Pump Bi-Yearly Checklist
Plan Date:………..…….……...…
Checklist Content |  |  |  |  | Work Order No:………..…….……...…
Work to be performed:
1. Verify float switch functionality.
► Make sure float switch move freely.
2. Verify sump pump functionality.
► Make sure pump functioning when float switch is on ON position
| No | Location | Remarks
| 1 | Track 10, Sump pump 1
| 2 | Track 10, Sump pump 2
| 3 | Track 10, Sump pump 3
| 4 | Track 11, Sump pump 1
| 5 | Track 12, Hoist 1 Sump pump 1
| 6 | Bogie Washing, Sump pump 1
| 7 | To Clean Bogie Washing Pit
| 8 | Under Wheel Lathe, Sump pump 1
Other Remarks: |  |  | Supervisor Remarks:
Checked By
Date :
Prep. Time:
Work Time:
Confirm By
|  | Date : |  | Name:
|  | Prep. Time: |  | Date:
|  | Work Time: |  | Time:
Stamp
Stamp
Stamp
Back To
Content

## 1.6 Roller Shutter MI
Rolling Stock Department - DWE |  |  | M
Roller shutter monthly checklist
Plan Date:………..…….……...…
Checklist Content | [5 empty] | Work Order No:………..…….……...…
Task to be Performed:
1. Visual Inspection: |  |  | 2. Fuctional Test
Check condition of Jointing Rod, Plastic plate, Stopper bracket, Stand & Lock Shaft. |  |  | Open & close Shutter Door Test shutter door lock
Legend: | Plastic Plate Broken |  |  | Jointing Rod Bending/Broken
Tick( √ ) if check has no defect & cross ( x ) for defect.
Location: |  |  | Location:
| 1. Visual Inspection |  |  |  | 1. Visual Inspection
| 2. Fuctional Test |  |  |  | 2. Fuctional Test
| Remarks:..……………….…… |  |  |  | Remarks:..……………….……
| …………………………………. |  |  |  | ………………………………….
Location: |  |  | Location:
| 1. Visual Inspection |  |  |  | 1. Visual Inspection
| 2. Fuctional Test |  |  |  | 2. Fuctional Test
| Remarks:..……………….…… |  |  |  | Remarks:..……………….……
| …………………………………. |  |  |  | ………………………………….
Location: |  |  | Location:
| 1. Visual Inspection |  |  |  | 1. Visual Inspection
| 2. Fuctional Test |  |  |  | 2. Fuctional Test
| Remarks:..……………….…… |  |  |  | Remarks:..……………….……
| …………………………………. |  |  |  | ………………………………….
Location: |  |  | Location:
| 1. Visual Inspection |  |  |  | 1. Visual Inspection
| 2. Fuctional Test |  |  |  | 2. Fuctional Test
| Remarks:..……………….…… |  |  |  | Remarks:..……………….……
| …………………………………. |  |  |  | ………………………………….
Location: |  |  | Location:
| 1. Visual Inspection |  |  |  | 1. Visual Inspection
| 2. Fuctional Test |  |  |  | 2. Fuctional Test
| Remarks:..……………….…… |  |  |  | Remarks:..……………….……
| …………………………………. |  |  |  | ………………………………….
Location: |  |  | Location:
| 1. Visual Inspection |  |  |  | 1. Visual Inspection
| 2. Fuctional Test |  |  |  | 2. Fuctional Test
| Remarks:..……………….…… |  |  |  | Remarks:..……………….……
| …………………………………. |  |  |  | ………………………………….
Checked By |  | Supervisor Remarks:
Date :
Prep. Time:
Travel Tme:
Work Time:
Date :
| Prep. Time: |  |  | Name:
| Travel Tme: |  |  | Date:
Work Time:
Back To
Content
Stamp
Stamp
Stamp
Stamp
Stamp

## 1.7 Water Meter DI
Rolling Stock Department - DWE | [7 empty] | DI
Water Meter Reading Daily Checklist
Week:………..…….………
Checklist Content | [10 empty] | Work Order No:………..…….………
NO | Location |  | METER READING (m3) | [6 empty] | REMARKS
DATE
1 | Washing Plant
2 | Auxiliary Workshop
3 | Spray Cabin
4 | Main Workshop (Beside Aircond Bay)
5 | Admin Building (Beside Stairs to OCC)
6 | Stabling Yard (Beside Gardener Cabin)
7 | Guard House
8 | Salak Tinggi Station (Near Staff Parking Area)
9 | YTL Cabin Office
10 | STS Main Tank (Biggest Tank Beside YTL Garage)
11 | STS Sewage Treatment Plant
12 | Depot Sewage Treatment Plant
DONE BY: |  |  | Stamp | Stamp | Stamp | Stamp | Stamp | Stamp | Stamp | SUPERVISOR IN CHARGE
NAME
Note: For STS Main Tank please take the key from STS OSS. Remember to return the key after task completed.
DATE
SUPERVISOR REMARKS:
STAMP
Back To
Content

## 1.7 Water Meter WI
Rolling Stock Department - DWE | [5 empty] | WI
Water Meter Reading Weekly Checklist
Month of:………..…….………
Checklist Content | [8 empty] | Work Order No:………..…….………
NO | Location |  | METER READING (m3) |  |  |  |  | REMARKS
WEEK #
DATE
1 | Washing Plant
2 | Auxiliary Workshop
3 | Spray Cabin
4 | Main Workshop (Beside Aircond Bay)
5 | Admin Building (Beside Stairs to OCC)
6 | Stabling Yard (Beside Gardener Cabin)
7 | Guard House
8 | Salak Tinggi Station (Near Staff Parking Area)
9 | YTL Cabin Office
10 | STS Main Tank (Biggest Tank Beside YTL Garage)
11 | STS Sewage Treatment Plant
12 | Depot Sewage Treatment Plant
DONE BY: |  |  | Stamp | Stamp | Stamp | Stamp | Stamp | SUPERVISOR IN CHARGE
NAME
Note: For STS Main Tank please take the key from STS OSS. Remember to return the key after task completed.
DATE
SUPERVISOR REMARKS:
STAMP
Back To
Content

## 2.1 AHU MI
Rolling Stock Department - DWE |  |  |  |  | MI
AHU Monthly Checklist for Depot
Refer to the instruction list Doc.No.G00.OMI.M71000.PT.0017.A | [7 empty] | Plan Date:………..…….……...…
Checklist Content | [7 empty] | Work Order No:………..…….……...…
ROOM
|  |  | 1 | 2 | 3 | 4 | 5
Record room setting for: |  | Temperature | ºC | ºC | ºC | ºC | ºC
|  | Humidity | % | % | % | % | %
Before Servicing: |  | Temperature | ºC | ºC | ºC | ºC | ºC
Physical Inspection On: |  | Humidity | % | % | % | % | %
1 | Service & clean filter
2 | Service & clean condensate pan
3 | Drain pipe no clog
4 | Tighten wire termination in switch board
5 | Ensure fan/blower in good condition
6 | Check belting condition
7 | Ensure the coil cleanliness
8 | Record air velocity. (Standard reading 0.35m/s - 0.45m/s) |  | m/s | m/s | m/s | m/s | m/s
9 | Check fan motor running condition
10.a | Record temp. & pressure for CHWS. (Standard requirement for CHWS temp. 6 - 7 ºC) |  | ºC | ºC | ºC | ºC | ºC
|  |  | bar | bar | bar | bar | bar
10.b | Record temp. & pressure for CHWR. (Standard requirement for CHWR temp. 11 - 13 ºC) |  | ºC | ºC | ºC | ºC | ºC
|  |  | bar | bar | bar | bar | bar
|  | R | Amp | Amp | Amp | Amp | Amp
11 | Record running Amp: | Y | Amp | Amp | Amp | Amp | Amp
|  | B | Amp | Amp | Amp | Amp | Amp
|  | Single Phase | Amp | Amp | Amp | Amp | Amp
12 | Ensure AHU room cleanliness
After Servicing: |  | Temperature | ºC | ºC | ºC | ºC | ºC
Physical Inspection On: |  | Humidity | % | % | % | % | %
Remarks: |  |  |  | Remarks from supervisor:
Date:
Prep Time:
Travel Time:
Work Time:
|  | Date: |  |  | Name:
|  | Prep Time: |  |  | Date:
|  | Travel Time: |  |  | Time:
Work Time:
Back To
Content
Stamp
Stamp
Stamp
Stamp
Stamp

## 2.2 FCU. MI
Rolling Stock Department - DWE |  |  |  | MI
FCU Monthly Checklist
Refer Instruction List: G00.OMI.M71000.PT.0017.A | [5 empty] | Plan Date:………..…….……...…
Checklist Content | [5 empty] | Work Order No:………..…….……...…
Tick( √ ) if check has no defect & cross ( x ) for defect.
Location: ' MWS ' ADM |  |  | Room:
|  |  | 1 | 2 | 3 | 4
Record room setting for: |  | Temperature | ºC | ºC | ºC | ºC
|  | Humidity | % | % | % | %
Before Servicing: |  | Temperature | ºC | ºC | ºC | ºC
Physical Inspection On: |  | Humidity | % | % | % | %
1 | Service & clean filter
2 | Service & clean condensate pan
3 | Drain pipe no clog
4 | Tighten wire termination in switch board
5 | Ensure fan/blower in good condition
6 | Check fan motor running condition
7 | Check belting condition
8 | Record air velocity |  | m/s | m/s | m/s | m/s
|  | R | Amp | Amp | Amp | Amp
9 | Record running Amp: | Y | Amp | Amp | Amp | Amp
|  | B | Amp | Amp | Amp | Amp
|  | Single Phase | Amp | Amp | Amp | Amp
After Servicing: |  | Temperature | ºC | ºC | ºC | ºC
Physical Inspection On: |  | Humidity | % | % | % | %
Remarks: |  |  |  | Supervisor Remarks:
Date:
Prep Time:
Travel Time:
Work Time:
|  | Date: |  |  | Name:
|  | Prep Time: |  |  | Date:
|  | Travel Time: |  |  | Time:
Work Time:
Stamp
Stamp
Stamp
Stamp
Stamp
Back To
Content

## 2.3 Split Unit MI
Rolling Stock Department - DWE |  |  |  | MI
Split Unit Monthly Checklist
Refer Instruction List: G00.OMI.M71000.PT.0017.A | [5 empty] | Plan Date:………..…….……...…
Checklist Content | [5 empty] | Work Order No:………..…….……...…
Tick( √ ) if check has no defect & cross ( x ) for defect.
Location: ' MWS ' ADM |  |  | ROOM
|  |  | 1 | 2 | 3 | 4
Record room setting for: |  | Temperature | ºC | ºC | ºC | ºC
|  | Humidity | % | % | % | %
Before Servicing: |  | Temperature | ºC | ºC | ºC | ºC
Physical Inspection On: |  | Humidity | % | % | % | %
1 | Service & clean filter
2 | Condensate pan & Drain pipe - Service & Clean
3 | Check Air Velocity
4 | Fan
5 | Switch Board
6 | Outdoor Coil
7 |  | High Side | Psig | Psig | Psig | Psig
| Measure High side & Low Side | Low Side | Psig | Psig | Psig | Psig
|  | High Side | ºF | ºF | ºF | ºF
|  | Low side | ºF | ºF | ºF | ºF
8 | Running Ampere | Red | Amp | Amp | Amp | Amp
|  | Yellow | Amp | Amp | Amp | Amp
|  | Blue | Amp | Amp | Amp | Amp
|  | Single Phase | Amp | Amp | Amp | Amp
After Servicing: |  | Temperature | ºC | ºC | ºC | ºC
Physical Inspection On: |  | Humidity | % | % | % | %
Remarks: |  |  |  | Supervisor Remarks:
Date:
Prep Time:
Travel Time:
Work Time:
|  | Date: |  |  | Name:
|  | Prep Time: |  |  | Date:
|  | Travel Time: |  |  | Time:
|  | Work Time: |  |  | Work Order:
Stamp
Stamp
Stamp
Stamp
Stamp
Back To
Content

## 3.1 Chiller DI
DI
Rolling Stock Department - DWE | [7 empty] | Administration Building - Chiller ' 1 ' 2
Chiller Daily Operation Log For Depot | [7 empty] | Main Workshop Building - Chiller ' 1 ' 2
Month of :……………………. | [15 empty] | Work Order No.:…………..………
| Temperature (°C) | [6 empty] | Pressure (PSI) |  |  |  | Circuit in Operation (Please Tick) | [5 empty] | Alarm / Remark | Taken By | Time taken
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1 | 2 | 3 | 4
Date: | Entering Evaporator | Leaving Evaporator | Outdoor | Disch. A | Suction A | Disch. B | Suction B | Discharge A | Suction A | Discharge B | Suction B | A1 | A2 | A3 | B1 | B2 | B3
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
|  | Date: |  |  |  |  | Remarks:
Prep Time:
Travel Time:
Work Time:
Stamp

## 4.1 DB MI
Rolling Stock Department - DWE |  |  |  | M
DB Monthly Inspection For Depot
Refer to Instruction List G00.OMI.M73000.PT.0020.A, Sheet A | [5 empty] | Plan Date:………..…….……...…
Checklist Content | [5 empty] | Work Order No:………..…….……...…
Important Starting Instruction Must be Followed Inform OCC Before Conducting Test | [5 empty] | OCC
Tick( √ ) if check has no defect & cross ( x ) for defect.
NO | DESCRIPTION |  | DB: | DB: | DB: | DB:
|  |  | SSB: | SSB: | SSB: | SSB:
1 | CHECK DISTRIBUTION BOARD
a) Check Indicator light
a) Check MCCB , MCB , RCD
c) Check Magnetic Contactor
d) Check Fuses
e) Check wire termination
f) Check volt meter condition
g) Check ammeter condition
h) Check selector switch
i) Check Timer
j) Ampere reading:
Red phase
Yellow phase
Blue phase
2 | CHECK SUB SWITCH BOARD
a) Check wire termination
b) Check neutral connection
c) Check earthing
d) Ampere reading:
Red phase
Yellow phase
Blue phase
Important Ending Instruction Must be Followed Inform OCC & System Once Test Completed | [5 empty] | OCC
Remarks: |  |  |  | Supervisor Remarks:
Including Stabling yard DB.
Date:
Prep Time:
Work Time:
|  | Date: |  |  | Name:
|  | Prep Time: |  |  | Date:
|  | Work Time: |  |  | Time:
Back To
Content
Stamp
Stamp
Stamp
Stamp
Stamp

## 4.2 Elect Meter WI
Rolling Stock Department - DWE | [7 empty] | WI
Electrical Meter Reading Weekly Checklist
Month of:………..…….………
Checklist Content | [10 empty] | Work Order No:………..…….………
Work to be performed
1.Check the meter reading
|  | y | Make sure meter is in good condition
Checklist Content
NO | Location |  |  |  | METER READING (kWh) |  |  |  |  | REMARKS
WEEK #
DATE
DEPOT BUILDING
1 | MWS LV Room
2 | MWS Changing Room (DB6)
3 | MWS Fabrication Are (DB5)
4 | MWS Beside UFLL (DB1)
5 | MWS Beside HWP Machine (DB2)
6 | MWS ELT Store (DB4)
ADMIN BUILDING
8 | ADMIN MDR
DONE BY: |  |  |  |  | Stamp | Stamp | Stamp | Stamp | Stamp | SUPERVISOR IN CHARGE
NAME
DATE
SUPERVISOR REMARKS:
STAMP
Back To
Content

## 4.3 Exit Light QI
Rolling Stock Department - DWE | [6 empty] | Q
Exit Light Quarterly Checklist
Date of Inspection:………..…….……...…
| Tick(ü) if check has no defect & (x) for defect at STATUS column | [7 empty] | Work Order No:………..…….……...…
DEPOT WORKSHOP
| GROUND FLOOR | STATUS | REMARK(S) |  |  | GROUND FLOOR | STATUS | REMARK(S)
1 | Lobby |  |  |  | 22 | Track 9 Center
2 | Pantry |  |  |  | 23 | Track 9 South
3 | Walkway beside Foreman Room |  |  |  | 24 | Workshop South Entrance (LED)
4 | Clinic / First Aid Room |  |  |  | 25 | Main Compressor Plant
5 | Female Prayer Room |  |  |  | 26 | Oil Storage Room
6 | Male Prayer Room |  |  |  | 27 | Tool Store Room
7 | Female Toilet |  |  |  | 28 | Goods Issue Room (beside receiving window)
8 | Cleaner Room |  |  |  | 29 | Aircond Ground Floor (ACGF) Area
9 | Male Locker Room (facing DEPOT entrance) |  |  |  | 30 | Bogie Store (facing MMT)
10 | Male Locker Room (facing Prayer Room) |  |  |  | 31 | Bogie Store (beside Track 12)
11 | Door near Pass. A/Cond Work place |  |  |  | 32 | Bogie Store (facing Track 12)
12 | Door near Pressing Machine |  |  |  | 33 | Goods Issue & Shelf Area
13 | Door near Fabrication Area (LED) |  |  |  | 34 | MMT Document Store
14 | Electronic Workshop facing inside DEPOT entrance |  |  |  | 35 | MMT North Entrance(LED)
15 | Electronic Workshop facing outside DEPOT |  |  |  | 36 | MMT South Entrance(LED)
16 | Main Battery Room |  |  |  | 37 | MMT MSPR (facing TNB) (LED)
17 | ZWICK Room (LED) |  |  |  | 38 | DWE Room
18 | OCL Store |  |  |  | 39 | LV Room
19 | Vehicle Store |  |  |  | 40 | RST Foreman Room
20 | Workshop North Entrance |  |  |  | 41 | First Aid Room
21 | Track 9 North |  |  |  | 42 | Training Room 2
| 1st FLOOR | STATUS | REMARK(S) |  |  | 1st FLOOR | STATUS | REMARK(S)
1 | Documentation Room |  |  |  | 3 | MWS Office (1) LED
2 | RHEIN-MAIN |  |  |  | 4 | MWS Office (2) LED
ADMIN BUILDING AREA
| GROUND FLOOR | STATUS | REMARK(S) |  |  | GROUND FLOOR | STATUS | REMARK(S)
1 | Lobby Stair Case (facing entrance door) 2 units |  |  |  | 7 | Genset Room
2 | Lobby Exit Door (near Ladies Toilet) |  |  |  | 8 | IT Office Entrance
3 | Server Room Entrance |  |  |  | 9 | HR Exit
4 | Server Room Exit |  |  |  | 10 | Admin Entrance
5 | IT Office Glass Door |  |  |  | 11 | Cafeteria Entrance
6 | CO2 Room |  |  |  | 12 | Cafeteria Exit
| 1st FLOOR | STATUS | REMARK(S) |  |  | 1st FLOOR | STATUS | REMARK(S)
1 | MRD Entrance |  |  |  | 3 | Operation Office Entrance
2 | Safety Department Exit Door |  |  |  | 4 | Operation Office Exit
UFWL Building
| Location | STATUS | REMARK(S) |  |  | Location | STATUS | REMARK(S)
1 | North Entrance |  |  |  | 2 | South Entrance
Spray Cabin Building
| Location | STATUS | REMARK(S) |  |  | Location | STATUS | REMARK(S)
1 | Cabin Area facing South (Left) (LED) |  |  |  | 5 | Chemical Storage Area
2 | Cabin Area facing South (Right) |  |  |  | 6 | North Entrance at Compressor Area (LED)
3 | Cabin Area facing North (Left) (LED) |  |  |  | 7 | South Entrance at Control Panel (LED)
4 | Cabin Area facing North (Right) (LED)
Dangerous Goods Store
| Location | STATUS | REMARK(S)
1 | Main Door
Auxiliary Workshop
| Location | STATUS | REMARK(S) |  |  | Location | STATUS | REMARK(S)
1 | Workshop North Entrance |  |  |  | 4 | Storage Exit
2 | Workshop South Entrance |  |  |  | 5 | Office
3 | LV Room
Other Remarks: |  |  |  | Supervisor Remarks:
Checked By |  |  |  | Confirm By
Name:
|  | Date: |  |  |  |  | Date:
Stamp
Stamp
Stamp
Back To
Content